## Annex 1 -Help
Annex 1
Explanation : The Annex includes a detailed specification of the materials ordered for production. Only on this basis will the Manufacter produce materials for the particular batches. Annex 1 may consist of many parts.
Annex 1 must be attached to every batch of materials, in accordance with the schedule in Annex 2 and sent to the Manufacturer, at least 1 week before the planned receipt of Goods.
Field: Recipient -the name of the Recipient
Field: BUILDING SITE- the name of the building site
Field: Agreement number- the number of Agreement
Field: NUMBER - Order number (next item) for more items, the number of rows can be increased by inserting them
Field: Part- part of the total order or a place in the wall between the posts
Field: Material- type of the ordered material eg BUDAN h500 Standard REC ( - 1 sided absorbent) , BuDAN h500 PA REC - double-sided absorbent ...
Field: UNIT - unit of measurement
Field: Colour [RAL] - colour number, according to RAL
Field: Quantity - number [pcs] the exact quantity of materials to be produced
Field: Gasket pillar - specifies the pillar in which the material will be installed
If You have different seals for H180 and H160 posts, so it is important which panels should have which seals, and in the case of single-sided absorption panels if they are mounted in 2 different posts, you must specify which seals should be on which side. Looking from the perforated side - e.g. UL left seal for H180 and UP double seal for H160
Field: Total length [m]- specifies the total length of the ordered panel (it should be smaller by 40-50 mm than the axial spacing of pillars) , the field adds up automatically, there is no need to fill it in.
Field: Sum [m2]- calculates the sum of m2 of panels of a given lenght, the field adds up automatically, there is no need to fill it in.
Field: Comments - other remarks
Field: SIGNATURE - Surname and first name
Field: DATE - date

## Annex 1 -Part 1.1
ANNEX 1
Order Specification - details
Part 1.1
| Recipient | Name
| Building Site | Adress | [9 empty] | EXAMPLE
Agreement number
Number | Part | Material | unit | Colour [RAL] perfo | Colour [RAL] second | Gasket pillar L | Gasket pillar R | Total length [m] | Quantity - number [pcs] | Sum [m2] | Comments
1 | Part 1.1 | BUDAN h500 Standard REC - 1 sided absorbent | m2 | RAL 1013 | RAL 1013 | H 160 | H 160 | 4.96 | 1200 | 2976 | deliver first
2 | Part 1.1 | BuDAN h500 PA REC - double-sided absorbent | m2 | RAL 6019 | RAL 6019 | H 160 | H 160 | 4.96 | 1200 | 2976
3 | Part 1.1 | BUDAN h500 Standard REC - 1 sided absorbent | m2 | RAL 6021 | RAL 6021 | H 180 | H 160 | 4.96 | 1200 | 2976
| Part 1.1 | BUDAN h500 Standard REC - 1 sided absorbent | m2 | RAL 6025 | RAL 6025 | H 160 | H 160 | 4.96 | 1200 | 2976 | Pack with another order
4 | Part 1.1 | BUDAN h500 Standard REC - 1 sided absorbent | m2 | RAL 6028 | RAL 6028 | H 180 | H 160 | 1.25 | 12 | 7.5
5
6
7
8
9
10
11
9
10
11
0
[9 empty] | 4812 | 11911.5
|  |  | Signature Manufacturer |  |  |  |  | Signature Recipient
|  |  | Date |  |  |  |  | Date

## Annex 1 -Part x
ANNEX 1
Order Specification - details
Part 7.2
| Recipient | Name
| Building Site | Adress
| Agreement number | 0
Number | Part | Material | unit | Colour [RAL] | Gasket pillar | Total length [m] | Quantity - number [pcs] | Sum [m2] | Comments
1 | TU-1 | Standard | m2 | RAL 7047 | HE 160 | 3.96 | 88 | 174.24
2 | TU-2 | Standard | m2 | RAL 7048 | HE 160 | 4.02 | 43 | 86.43
3 | TU-3 | Standard | m2 | RAL 7047 | HE 160 | 2.15 | 444 | 477.3 | position 3 pole 5
| TU-4 | Standard | m2 | RAL 7047 | HE 160 | 4.44 | 55 | 122.1 | urgent
4 | TU-5 | Standard | m2 | RAL 7047 | HE 160 | 3.05 | 555 | 846.375
5 | TU-6 | Standard | m2 | RAL 7052 | HE 160 | 3.96 | 66 | 130.68
6 | TU-7 | PA | m2 | RAL 7053 | HE 180 | 4.02 | 55 | 110.55
7 | TU-8 | PA | m2 | RAL 1000 | HE 180 | 2.15 | 55 | 59.125
8 | TU-9 | Standard | m2 | RAL 1000 | HE 180 | 4.44 | 55 | 122.1
9 | TU-10 | PA | m2 | RAL 1000 | HE 180 | 3.05 | 555 | 846.375
10 | TU-11 | PA | m2 | RAL 1000 | HE 180 | 3.05 | 555 | 846.375
11 | TU-12 | DOOR TYPE 1 | pcs | RAL 1000 | HE 160 |  | 1 | 0 |  | what you type may appear on the panel label
9 | TU-13 | Standard | m2 | RAL 1000 | HE 160 | 3.05 | 555 | 846.375
10 | TU-14 | Standard | m2 | RAL 1000 | HE 160 | 3.05 | 555 | 846.375
11 | TU-15 | DOOR TYPE 2 | pcs | RAL 1000 |  |  | 2 | 0
0
[7 empty] | 3639 | 5514.4
|  |  | Signature Manufacturer |  |  | Signature Recipient
|  |  | Date |  |  | Date
Pattern - example